Two-page Summary

# Czech Republic

Summary of Results

In 2009 the total of 1106 samples were taken. The major part comprised of samples of fresh fruits and vegetables (894 samples), than cereals (86 samples), processed products 
(44 samples), baby food (52 samples), animal products (30 samples). From the total amount of taken samples according to the country of origin samples from the Czech Republic represented 28 %, samples originating in the EU countries represented 48,0 % and samples from the third countries represented 21 %.

The maximum residue levels were exceeded in 20 surveillance samples (1,8 %), of which 6 were from third countries, 8 from other member states and 6 from the Czech Republic. Results of seven samples were not compliant with the legislation.

From animal products 15 samples of butter and 15 samples of eggs were taken in 2009. All samples were originating from the Czech Republic and were tested for 32 prescribed substances/pesticide residues. All results were compliant with the legislation and MRLs were not exceeded. Nevertheless, residues of DDT and HCB were found in all of 15 butter samples.

Table: Overview of the results of the pesticide residue monitoring programme in the Czech Republic

| Samples | Total | Without residues | With residues below MRL | With residues exceeding MRL | With residues exceeding MRL (%) |
| --- | --- | --- | --- | --- | --- |
| Animal Products | 30 | 15 | 15 | 0 | 0,0 |
| Babyfood | 52 | 42 | 9 | 1 | 1,9 |
| Cereals | 86 | 60 | 25 | 1 | 1,2 |
| Processed products | 44 | 14 | 30 | 0 | 0,0 |
| Sum (fruit, vegetables, other plant origin) | 894 | 185 | 691 | 18 | 2,0 |
| Total | 1106 | 331 | 755 | 20 | 1,8 |

In total, 306 various active substances were monitored in samples of plant origin in the framework of national and coordinated monitoring of pesticide residues. A positive finding was revealed in case of 158 various active substances. The most 10 frequently found pesticide residues, in decreasing order of frequency (found/sought) were imazalil, chlorpyrifos, thiabendazole, chlormequate, boscalid, dithiocarbamates, azoxystrobin, propamocarb, cyprodinil and imidacloprid.

Organisation of monitoring programmes and Sampling

Responsibilities

Czech Agriculture and Food Inspection Authority (CAFIA) is the competent authority for controls of pesticide residues in foodstuffs of plant origin  and provides the national and EU co-ordinated monitoring programmes in co-operation with the Ministry of Agriculture. State Veterinary Administration (SVA) is the competent authority for controls of pesticide residues in raw materials and foodstuffs of animal origin.

Design of Programmes (priorities, targeting, criteria for the percentage of samples to be taken from the organic sector)

Pesticide residues monitoring in foodstuffs in the Czech Republic is guided by the Multi-Annual Control Plan for the Control of Pesticide Residues in CR submitted by the Ministry of Health Care, in cooperation with the Ministry of Agriculture and other supervisory bodies (CAFIA, SVA). A coordinated multi-Community monitoring program is included in the plan as required by the European Parliament and Regulation (EC) No. 396/2005.
The requirements of a multi-annual control plan are included in the control plans of supervisory authorities (CAFIA and SVA), competent to monitor pesticide residues in foodstuffs of plant and animal origin.

The sampling plan for pesticide residues monitoring is always drawn up for one calendar year. The plan is elaborated by the Headquarters of CAFIA/SVA as internal provision and it is distributed to the CAFIA/SVA regional inspectorates which are responsible for its implementation.

The commodities sampled in the framework of national monitoring program are not included into the coordinated program of monitoring in the year concerned. When choosing commodities and their proportional representation, the data about consumption of foodstuffs in the Czech Republic elaborated by the National Institute of Public Health are taken into consideration. Similarly further information, as for example findings revealed in previous years (in the Czech Republic and other Member States) or RASFF reports.

The number of products sampled from inland and abroad is commensurate to their proportional representation on the market. Commodities coming from third countries, inland and other EU Member States are prioritized when sampling.

Sampling: personnel, procedures, sampling points

Sampling is performed in accordance with sampling procedures referred to in Commission Directive No. 2002/63/EC that has been incorporated into the national regulation for sampling for determination of pesticides in and on fruit and vegetables.

- Samples are taken by authorized and for this purpose trained employees of the CAFIA/SVA, i.e. inspectors of the CAFIA regional inspectorates. The main sampling points are food producers, importers, wholesalers and retail shops for domestic and non-domestic products.

Enforcement action

- In case of whichever overrun of maximal residual limit a legal step follows from the side of the controlling body. The controlled person is imposed the measure to insure the withdrawal of the unsatisfactory batch from the market and announce further steps that were taken with the unsatisfactory batch, e. g. liquidation or adaptation. In the framework of administrative procedure a fine is imposed to the controlled person.

Quality assurance

Status of accreditation of laboratories, number of laboratories

All analyses in foodstuffs of plant origin were carried out in the laboratory of Czech Agriculture and Food Inspection Authority (CAFIA) in Prague. All analysis in foodstuffs of animal origin were carried out in the laboratory of State Veterinary Institute Prague (SVI Prague). Both laboratories are accredited by Czech Accreditation Institute (CAI) according to the ISO/IEC 17025 standard for all methods used for monitoring and/or enforcement analysis.

Analytical methods used

During the year 2009 two multiresidual method based on QUECHERS with GC×GC-TOF/MS and LC-MS/MS detection were applied to analysis of fresh fruit and vegetable and baby and infant food as well in CAFIA laboratory. Beside the QUECHERS method 3 single-residue methods were carried out in the 2009 (GC-MSD for dithiocarbamates, GC-ECD for inorganic bromine, LC-MS/MS for chlormequate and mepiquate). In the 2009 two new single-residue methods (GC-MSD for nicotine and GC-MSD for amitraz) were accredited.

Two dimensional capillary (with different polarity columns) GC-ECD and GC-NPD methods were used in laboratory of SVI in the year 2009. These methods covered most analytes (95%) according Commission Regulation (EC) 1213/2008 and 901/2009 respectively. For analysis of remaining compounds (5%) LC-MS/MS method was used.

Participation in proficiency tests

In the year 2009 laboratory of CAFIA took part in 2 EU proficiency tests focused on pesticide residues (EUPT FV 11, EUPT C3/SRM4) with satisfactory results.

Laboratory of SVA took part in EU proficiency test (PT) focused on pesticide residues and PT in FAPAS scheme with satisfactory results.

Implementation of EU quality control procedures

Most of requirements from the EU quality control guidelines (Document N° SANCO/2007/3131, resp. SANCO/10684/2009) have been fully implemented in the CAFIA laboratory, only chapter 3 (pesticide standards, calibration, solutions, etc.) has been implemented only partly. Substantial improvement of QC procedures has been achieved since the year 2008 and the process will continue also in the future.

Parts of above mentioned QC requirements have been implemented in the SVI Prague laboratory. Most of requirements of the new document will be fully implemented by the end of this year (2010).

Analytical uncertainty

Since the end of the year 2007 the harmonised “50% uncertainty” approach recommended in the SANCO guidelines has been applied to all results.

Other information

- Health risk assessment is in the Czech Republic performed by the Ministry of Health. Non-complying samples are ceded to the MH and if they are relevant for transmission via RASFF (Rapid Alert System for Food and Feed), they are notified. 
In 2009 we notified 3 findings of pesticide residues in fruit and vegetables, two of which were classified as Information notification (2009.1004, 2009.1074), one of which was classified as Alert notification (2009.0364).

2009.0364 – OXAMYL IN FRESH GREEN PEPPERS FROM THE SLOVAK REPUBLIC

2009.1004 – AZINPHOS-METHYL IN PEARS FROM ARGENTINA, VIA AUSTRIA

2009.1074 – METHAMIDOPHOS AND ACETAMIPRID IN FROZEN SUGAR PEA PODS FROM GERMANY